CITY OF MERCER ISLAND, WASHINGTON
9611 SE 36th St. • Mercer Island, WA  98040-3732
(206) 236-5300 • FAX: (206) 236-3651 • TDD: (206) 232-9598

May 14, 2008

Peter Bryant

8020 SE 37th Street

Mercer Island, WA 98040

Subject:   Drainage Review for Permit 0802-065,  Slope Repair for 8020 SE 37th Street

Dear Bryant:

We have reviewed the plan and Geotechnical Memo prepared by Robert M. Pride, LLC (submitted on April 29, 2008) and have the following comments:

- The site plan shows a new catch basin and connection to the existing storm system. Please provide the folllowings:

- The type of this new catch basin, the rim elevation and invert elevation of this catch basin.

- The connection pipe (between the new catch basin and existing storm system) diameter, length, slope, location from this new catch basin to the existing on site drainage system.

- Clearly show this existing drainage system and where the existing storm system is discharging into.

These comments are for drainage review only, other reviewing disciplines here at the City may have additional comments

Please submit two copies of all requested information. Submittals should include a transmittal letter which responds to the above comments and itemizes resubmitted documents. To assist in tracking the information, please submit the revisions to the permit counter to a permit technician. Do not send or mail the revisions to me.  If you have any questions or require additional clarification on any of the items contained in this letter, please contact me via email, at Ruji.Ding@mercergov.org  or by phone at (206) 275-7703

Sincerely,

Ruji Ding, P.E.

Senior Development Engineer

Development Services

Cc:  Patrick Yamashita, P.E., City Engineer